## QMS-R-025A-CoC-Mould by DME
Sending Samples to SESALAB: Post / Courier or Drop of Samples at: (Reception or in Parcel Mail Box) Unit 53/3 Kelso Crescent, Moorebank NSW 2170 Email: lab@sesa.com.au Ph: +61 2 9822 8406 For Urgent Requests Please Call: 0406 367 247 or 0411 516 373 | [5 empty] | Chain of Custody Mould by Direct Microscopy Examination Viable Mould-Yeast-Bacteria by Culture
Your Job Number | [11 empty] | Air Sampling Pump: QuickTake 30, Bio-Pump, other |  |  |  | Your PO No. |  |  | Page |  | of
Company | [15 empty] | SESALAB Quote No. (if applicable)
Your Contact |  |  |  |  | Phone No | [10 empty] | Project Details (to appear on report)
Office Address | [15 empty] | Site Address (to appear on report)
Results to (email) |  |  |  |  | Invoice to email | [10 empty] | Sample Collected By |  |  |  | Sample Date and time
Select Test Code (refer to next page for test details & codes) | Direct Microscopy Examination |  |  |  |  | Viable Mould-Yeast-Bacteria by Culture | [11 empty] | Date Results Required *
|  | Test. | # | Test | # | Test. | # | Test. | # | Test. | # | Test. | # | Test. | # | Test. | #
|  | AIR SAMPLES Spore Trap |  | SURFACE SAMPLES Tape, Swab, Bulk |  | AIR SAMPLES |  | RODAC |  | SWAB |  | BULK |  | LIQUID |  | E. COLI & COLIFORMS
| Mould | MA1 |  | MS1 |  | Mould |  | Mould |  | Mould |  | Mould |  | Mould |  | Swab
| Soot, Ash, Char | *MA2 |  | *MS2 |  | Yeast |  | Yeast |  | Yeast |  | Yeast |  | Yeast |  | Bulk |  | * Note: Inform lab in advance if urgent turnaround is required - surcharges apply
| Comprehensive | *MA3 |  | *MS3 |  | Bacteria |  | Bacteria |  | Bacteria |  | Bacteria |  | Bacteria |  | Liquid
(For Lab Use Only) Lab Sample Number | Analysis Required Test Code ( eg. MA1+MA2+MA3 MS1+MS2+MS3) | Sample Type (eg. AOC, Allergenco, Biotape, Tape) |  | Your Sample ID - S.N. |  |  |  | Your Sample Expiry - Lot # (If Applicable) |  |  |  | Pump Flow Rate (L/m) |  | Sample Duration (minutes) |  | Sample Air Volume in litres (if applicable) Flow Rate x mins |  | Sample Location / Sample Information
Comments
Relinquished by (Company) |  |  |  | Signature | [5 empty] | Date & Time |  |  |  | Checked by |  |  |  | Signature |  | Date & Time
Lab Use Only | Samples Received Intact |  |  |  |  | Transported by | [9 empty] | Lab Notes

## Test Codes
Sending Samples to SESALAB: Post / Courier or Drop of Samples at: (Reception or in Parcel Mail Box) Unit 53/3 Kelso Crescent, Moorebank NSW 2170 Email: labesa.com.au Ph: +61 2 9822 8406 For Urgent Requests Please Call: 0406 367 247 or 0411 516 373 |  |  | Chain of Custody Mould by Direct Microscopy Examination Viable Mould-Yeast-Bacteria by Culture
Microbiological Testing Guide & Test Code Selection Contact SESALAB if assistance is required in the selection of a suitable test
Non-Viable Mould & Non-Fungal Particulates in Air Samples by Direct Microscopy Examination (DME) - Turnaround: Standard 3 days, 1 day, and same day.
Test Code | Test Parameter | Technique |  | Sample Media | Detection Limit | Sample Size | Analytical Media | Standards & Methods | Application & Selection of Required Test | Test Accreditation / Validation
MA1 | Airborne mould (non-viable) Genus Identification & counting | DME Morphology: Transmitted light microscopy Magnification: 200 - 400x Resolution: 0.3-0.5µm |  | Spore Trap (eg. Air-O-Cell, Allergenco-D, VersaTrap, Micro 5, Filter) | 1 spore/sample 13 spores/m3 (75L air sample analysed at 100%) | Flow rate 15L/m Standard-5 minutes (75L) Clean - 10 minutes (150L) Dusty - 2 minutes (30L) | Slide with adhesive mounted on microscope slide with stain | ASTM D7391-17 Standard Test Method for Categorization and Quantification of Airborne Fungal Structures in an Inertial Impaction Sample by Optical Microscopy | Airborne fungal particulates (mould spores & Hyphae) - Assessment of water damaged buildings - Routine air checks in office and other environments - Post remediation verification | NATA accredited
*MA2 | Combustion Particulates (soot, char, ash) +MA1 Presumptive Identification & counting | DME Morphology & Optical properties: Transmitted light, Reflected light & Polarised light Microscopy (PLM) Magnification: 200 - 400x Resolution: 0.3-0.5µm |  | Spore Trap (eg. Air-O-Cell, Allergenco-D, VersaTrap, Micro 5, Filter) | 1 count/sample 13 counts/m3 (75L air sample analysed at 100%) | Flow rate 15L/m Standard-5 minutes (75L) Clean - 10 minutes (150L) Dusty - 2 minutes (30L) | Slide with adhesive mounted on a microscope slide with stain/RI oil | ASTM D7391-17 Other Publications & references | Airborne fungal particulates (mould spores & Hyphae) - as above - Assessment of fire residues in air in fire damaged buildings & wildfires - Post remediation verification | Non-NATA
*MA3 | Comprehensive fungal & non-fungal particulates analysis MA1 + *MA2 + (skin cells, organic & synthetic mineral fibres, decayed biogenic, corrosion/friction, insect parts, crystalline) Presumptive Identification & counting. | DME Morphology & Optical properties: Transmitted light, Reflected light & Polarised light Microscopy (PLM) Magnification: 200 - 400x Resolution: 0.3-0.5µm |  | Spore Trap (eg. Air-O-Cell, Allergenco-D, VersaTrap, Micro 5, Filter) | 1 count/sample 13 counts/m3 (75L air sample analysed at 100%) | Flow rate 15L/m Standard-5 minutes (75L) Clean - 10 minutes (150L) Dusty - 2 minutes (30L) | Slide with adhesive mounted on a microscope slide with stain/RI oil | ASTM D7391-17 Other Publications & references | Airborne fungal particulates (mould spores & Hyphae) - as above - Assessment of fire residues in air in fire damaged buildings & wildfires. - Dust with potential allergens & irritants contamination. Post remediation verification | Non-NATA
Non-Viable Mould & Non-Fungal Particulates in Tape, Swab, Bulk Samples by Direct Microscopy Examination (DME) - Turnaround: Standard 3 days, 1 day, and same day.
Test Code | Test Parameter | Technique / Turnaround |  | Sample Media | Detection Limit | Sample Size | Analytical Media | Standards & Methods | Application & Selection of Required Test | Test Accreditation / Validation
MS1 | Surface mould (non-viable) Genus Identification & Loading on microscopy | DME Morphology: Transmitted light Microscopy Magnification: 200 - 400x Resolution: 0.3-0.5µm |  | 1-Tape (Biotape, Fungi Tape, Mold Tape, Clear cellophane tape) 2-Swab 3-Bulk | Category 0 (No fungal particulates) Category 1 (<5% loading) | Tape: 1 - 2 cm2 Swab: 1 - 2 cm2 Bulk: 1 - 2 cm2 | Surface material on swab or bulk is transferred to tape. Tape sample with adhesive mounted on microscope slide with stain | ASTM D7658-17 Standard Test Method for Direct Microscopy of Fungal Structures from Tape | - Surface fungal particulates (mould spores & Hyphae) - Assessment of water damaged buildings - Routine checks in offices, homes, construction sites and other environments - Post remediation verification | NATA accredited
*MS2 | Combustion Particulates (soot, char, ash) + MS1 Presumptive Identification & Loading on microscopy | DME Morphology & Optical properties: Transmitted light, Reflected light & Polarised light Microscopy (PLM) Magnification: 200 - 400x Resolution: 0.3-0.5µm |  | 1-Tape (Biotape, Fungi Tape, Mold Tape, Clear cellophane tape) 2-Swab 3-Bulk | Category 0 (No particulates) Category 1 (<5% loading) | Tape: 1 - 2 cm2 Swab: 1 - 2 cm2 Bulk: 1 - 2 cm2 | Surface material on swab or bulk is transferred to tape. Tape sample with adhesive mounted on microscope slide with stain / RI Oil | ASTM D7658-17 Publications & references | Surface fungal particulates (mould spores & Hyphae) - as above Assessment of fire residues on surfaces in fire damaged buildings & wildfires Post remediation verification (PRV) | Non-NATA
*MS3 | Comprehensive fungal & non-fungal particulates analysis MS1 + *MS2 + (skin cells, organic & synthetic mineral fibres, decayed biogenic, corrosion/friction, insect parts, crystalline) Presumptive Identification & Loading on microscopy | DME Morphology & Optical properties: Transmitted light, Reflected light & Polarised light Microscopy (PLM) Magnification: 200 - 400x Resolution: 0.3-0.5µm |  | 1-Tape (Biotape, Fungi Tape, Mold Tape, Clear cellophane tape) 2-Swab 3-Bulk | Category 0 (No particulates) Category 1 (<5% loading) | Tape: 1 - 2 cm2 Swab: 1 - 2 cm2 Bulk: 1 - 2 cm2 | Surface material on swab or bulk is transferred to tape. Tape sample with adhesive mounted on microscope slide with stain / RI Oil | ASTM D7658-17 Publications & references | Airborne fungal particulates (mould spores & Hyphae) - as above Assessment of fire residues in air in fire damaged buildings & wildfires. Dust with potential allergens & irritants contamination. Post remediation verification | Non-NATA
Viable Mould, Yeast, Bacteria by Culture (Air Samples) - Turnaround based on incubation time
Test Code | Test Parameter | Technique / Turnaround |  | Sample Media | Detection Limit | Sample Size | Analytical Media | Standards & Methods | Application & Selection of Required Test | Test Accreditation / Validation
A-MYB-1 | Mould-Yeast-Bacteria | Agar Plate by Air Impaction-Basic Routine Sampling Culture/Incubation: (M&Y): 5-7 days, (B): 3 days |  | MEA (Mould & Yeast) TSA (Bacteria) | 1CFU/Plate 1CFU/m3 (1000L air sample) 10CFU(100L air sample) | Operating theatre: 1000L Clean room: 1000L Other: 56.6L - 500L Sampling time: 1 - 10 minutes | Same as sample media | ISO16000-18 (Mould Sampling-modified) ISO16000-17 (Culture method) ACGIH Bioaerosols: Assessment & Control | Basic routine sampling in various indoor & outdoor environments. One media for mould & yeast and one media for bacteria. | Internal lab validation
A-MY-1 | Mould-Yeast
A-B-1 | Bacteria
A-MYB-2 | Mould-Yeast-Bacteria | Agar Settle Plate Culture/Incubation: (M&Y): 5-7 days, (B): 3 days |  | MEA (Mould & Yeast) TSA (Bacteria) | 1CFU/Plate 1CFU/Unit of time | Opening & exposing plate for: 30 - 240 minutes | Same as sample media | ISO16000-17 (Culture method) ACGIH Bioaerosols: Assessment & Control | Semi-quantitative. Basic routine sampling in various indoor & outdoor environments for settled spores. One media for mould & yeast and one media for bacteria. | Internal lab validation
A-MY-2 | Mould-Yeast
A-B-2 | Bacteria
A-MYB-3 | Mould-Yeast-Bacteria | Agar Plate by Air Impaction-ISO16000-18 (10 Plates set for mould per location) Culture/Incubation: (M&Y): 5-10 days, (B): 3 days |  | Mould & Yeast: DG18 (x 5 plates) + MEA or PDA (x5 plates) Bacteria: TSA (x 2 plates) | 1CFU/Plate 1CFU/m3 (1000L air sample) 10CFU(100L air sample) 20CFU(50L air sample) | DG18 + MEA or PDA: 50L x 2 DG18 + MEA or PDA: 100L x 2 TSA: 100L x 2 Pump air sampling time: 1 - 10 minutes | Same as sample media | ISO16000-18 (Mould Sampling) - 2×50 L and 2×100 L samples at each sampling point + Field Blank ISO16000-17 (Culture method) | Sampling wider range of mould groups (xerophilic, mesophilic, hydrophilic). Two media in duplicates (and two air volumes) for mould & yeast and one media for bacteria. | Internal lab validation
A-MY-3 | Mould-Yeast
A-B-3 | Bacteria
A-MYB-4 | Mould-Yeast-Bacteria | Gelatine Filter Culture/Incubation: (M&Y): 5-10 days, (B): 3 days |  | Gelatin Filter (25mm - 80mm) (mould, yeast, bacteria) | 1-250 CFU/m3 (1000L air sample) 10-2500 CFU (100L air sample) | SKC Gelatin 25mm filter: 30 minutes (IOM sampler at 2L/m) Sartorious 25-80mm filter (1000L in <8 minutes) | Direct Plating / Spread Plate DG18 + MEA or PDA: x 2 DG18 + MEA or PDA: x 2 TSA: x 2 | ISO16000-16 (Mould Sampling by filtration) ISO16000-17 (Culture method) | Used for bioaerosols sampling efficiency of >95%. Gelatin filter is resuspended in solution and analysed for mould, yeast and bacteria from one filter sample. | Internal lab validation
A-MY-4 | Mould-Yeast
A-B-4 | Bacteria
E. coli & Coliforms, Yeast-Mould-Bacteria (Swab, Bulk, Liquid) by Compact Dry & 3M Petrifilm - Turnaround based on incubation time
Test Code | Test Parameter | Technique / Turnaround |  | Sample Media | Detection Limit | Sample Size | Analytical Media | Standards & Methods | Application & Selection of Required Test | Test Accreditation / Validation
R-MYB-5 | Mould-Yeast-Bacteria | Swab, Bulk, Liquid - Culture on Compact Dry Culture/Incubation: (M&Y): 3-7 days, (B): 2 days |  | Transport swab (mould, yeast, bacteria) | 10 CFU/Swab (Suspension/Diffusion) | Swabbed surface area: 10 - 100cm2 | Diffusing/spreading 1mL Compact Dry YM Compact Dry TC | Yeast & Mould: Compact Dry TC: AOAC No. 100401 (Validated) Aerobic bacteria: Compact Dry TC - AOAC 010404 | Used for sampling surfaces or materials using swab. Also, used for food, bulk & liquid samples. Suspenion and dilution for high concentrations of mould, yeast and bacteria. | Internal lab validation
R-MY-5 | Mould-Yeast
R-B-5 | Bacteria
R-MYB-6 | Mould-Yeast-Bacteria | Swab, Bulk, Liquid - Culture on 3M Petrifilm Culture/Incubation: (M&Y): 2-2.5 days, (B): 1-2 days |  | Transport swab (mould, yeast, bacteria) | 10 CFU/Swab (Suspension/Diffusion) | Swabbed surface area: 10 x 100cm2 | Diffusing/spreading 1mL 3M™ Petrifilm™ Yeast and Mold Count Plate 3M Petrifilm Aerobic Count Plate | Yeast & Mould: Petrifilm: AOAC No. 2014.05 Aerobic bacteria: Compact Dry TC - AOAC No, 2015.13 | Used for sampling surfaces or materials using swab. Also, used for food, bulk & liquid samples. Suspenion and dilution for high concentrations of mould, yeast and bacteria. | Internal lab validation
R-MY-6 | Mould-Yeast
R-B-6 | Bacteria
EC-7 | E coli & Coliforms | E coli & Coliforms (Swab, Bulk, Liquid) Culture/Incubation: Ecoli & Coliforms: Compact Dry EC (1 day) 3M E coli Petrifilm (2 days) |  | Transport swab (Escherichia coli & Coliforms) | 10 CFU/Swab (Suspension/Diffusion) | Swabbed surface area: 10 x 100cm2 | Diffusing/spreading 1mL Compact Dry EC 3M E coli Petrifilm | Compact Dry EC - AOAC 110402 3M Petrifilm -AOAC 991.14 | Used for sampling surfaces or materials using swab. Also, used for food, bulk & liquid samples. Suspenion and dilution for high concentrations of mould, yeast and bacteria. | Internal lab validation
Viable Mould, Yeast & Bacteria by Culture on Agar Media (Sampling From Materials) - Turnaround based on incubation time
Test Code | Test Parameter | Technique / Turnaround |  | Sample Media | Detection Limit | Sample Size | Analytical Media | Standards & Methods | Application & Selection of Required Test | Test Accreditation / Validation
S-MYB-8 | Mould-Yeast-Bacteria | Sampling of Surfaces directly by Contact Plate Culture/Incubation: (M&Y): 5-10 days, (B): 3 days |  | Mould & Yeast: DG18, MEA or SDA Bacteria: TSA | 1CFU/Plate | RODAC plate surface area: approx. 24cm2 | Same as sample media | ISO16000-21 (Mould Sampling from materials) ISO16000-17 (Culture method) | Used for sampling surfaces or materials using agar plate. Useful for post remediation verification following fungicide treatment. | Internal lab validation
S-MY-8 | Mould-Yeast
S-B-8 | Bacteria
S-MYB-9 | Mould-Yeast-Bacteria | Surface Swab - Culture on Agar Media Culture/Incubation: (M&Y): 5-10 days, (B): 3 days |  | Transport swab (mould, yeast, bacteria) | 1CFU/Plate or Swab (streak method) 2.5 - 10 CFU/Swab (suspension/spread plate) | Swabbed surface area: 10 - 100cm2 | Direct Plating or Spread Plate DG18 + MEA or PDA: x 2 DG18 + MEA or PDA: x 2 TSA: x 2 | ISO16000-21 (Mould Sampling from materials) ISO16000-17 (Culture method) | Used for sampling surfaces or materials using swab. Streak out plating on agar media for qualitative results. Resuspenion method for high concentrations of mould, yeast and bacteria. | Internal lab validation
S-MY-9 | Mould-Yeast
S-B-9 | Bacteria
B-MYB-10 | Mould-Yeast-Bacteria | Bulk Sample - Culture on Agar Media (dust, timber, fabric, paper, etc.) Culture/Incubation: (M&Y): 5-10 days, (B): 3 days |  | Bulk material placed in sterile container | 1CFU/Plate 10 - 2,500 CFU/gram (suspension/spread plate) | Dust: 1 - 10 grams Core sample: 3 - 5cm diameter | Direct Plating or Spread Plate DG18 + MEA or PDA: x 2 DG18 + MEA or PDA: x 2 TSA: x 2 | ISO16000-21 (Mould Sampling from materials) ISO16000-17 (Culture method) | Used for sampling materials and analysis for mould, yeast and bacteria contamination. Direct plating on agar media for qualitative results. Resuspension method and cultivation for quantitative results. | Internal lab validation
B-MY-10 | Mould-Yeast
B-B-10 | Bacteria
L-MYB-11 | Mould-Yeast-Bacteria | Liquid sample (oil, sludge, etc.) Culture/Incubation: (M&Y): 5-10 days, (B): 3 days |  | Liquid sample placed in sterile container | 1CFU/Plate 10 - 2,500 CFU/mL (suspension/spread plate) | 1 - 10 mL | Direct Plating or Dilution & Spread Plate DG18 + MEA or PDA: x 2 DG18 + MEA or PDA: x 2 TSA: x 2 | ISO16000-17 (Culture method) | Used for sampling liquids and analysis for mould, yeast and bacteria contamination. Direct plating on agar media or dilution for high concentration and cultivation for quantitative results. | Internal lab validation
L-MY-11 | Mould-Yeast
L-B-11 | Bacteria

## Test Codes Old (hidden)
Analysis Required / Sample Type
* Denotes "Test not currently covered by SESALAB NATA Accreditation" ** Denotes "Only the mould identification to genus is covered by SESALAB NATA accreditation. Test method internally validated"
Non-Viable Mould & Non-Fuangal Particulates in Air Samples (Air-O-Cell, Allergenco-D, VersaTrap, Micro-5, Filters) by Direct Microscopy Examination (DME)
Test Code |  | Description
MA1 |  | Non-viable mould analysis (identification to Genus & enumeration) in air samples - NATA accredited Reference Method - ASTM D7391-17 Standard Test Method for Categorization and Quantification of Airborne Fungal Structures in an Inertial Impaction Sample by Optical Microscopy
*MA2 |  | MA1 + Combustion Particulates (soot, char, ash) identification & enumeration in air samples - MA2 analysis is not accredited Method based on ASTM D7391-17 for non-fungal particulates and other reference materials. Analysis by PLM, morphology & optical properties.
*MA3 |  | Comprehensive microscopy analysis MA1 + *MA2 + Identification & Enumeration of Biogenic & Mineral Particulates & Fibres - MA3 analysis is not accredited Method based on ASTM D7391-17 for non-fungal particulates and other reference materials. Analysis by PLM, morphology & optical properties.
Non-Viable Mould & Non-Fuangal Particulates in Tape, Swab, Bulk by Direct Microscopy Examination (DME)
Test Code |  | Description
MS1 |  | Non-viable mould analysis (identification to Genus & Loading on microscopy) in Tape, Swab & Bulk samples - NATA accredited Reference Method - ASTM D7658-17 Standard Test Method for Direct Microscopy of Fungal Structures from Tape
*MS2 |  | MS1 + Combustion Particulates (soot, char, ash) identification & Loading on microscopy in Tape, Swab & Bulk samples samples - MS2 analysis is not accredited Method based on ASTM D7658-17 for non-fungal particulates and other reference materials. Analysis by PLM, morphology & optical properties.
*MS3 |  | Comprehensive microscopy analysis MS1 + *MS2 + Identification & Enumeration of Biogenic & Mineral Particulates & Fibres - MS3 analysis is not accredited Method based on ASTM D7658-17 for non-fungal particulates and other reference materials. Analysis by PLM, morphology & optical properties.
Viable Mould, Yeast, Bacteria in Air Samples (Agar Plates (Impaction, settle plates) and Gelatin Filters
Test Code |  | Description
**VMYA1 **VMYBA1 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - Air Plates by Impaction **VMYA1 - Mould & Yeast (DG18, MEA) in duplicates **VBA1 - Bacteria (TSA) in duplicates - ISO 16000-17: Detection and enumeration of moulds - Culture-based method - ISO 16000-18: Indoor air — Part 18: Detection and enumeration of moulds — Sampling by impaction
**VMYA2 **VMYBA2 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - Settle Plates **VMYA2 - Mould & Yeast (DG18, MEA) in duplicates **VBA2 - Bacteria (TSA) in duplicates - ISO 16000-17: Detection and enumeration of moulds - Culture-based method
**VMYA3 **VMYBA3 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - Gelatin Filter **VMYA3 - Mould & Yeast (DG18, MEA) in duplicates **VBA3 - Bacteria (TSA) in duplicates - ISO 16000-17: Detection and enumeration of moulds - Culture-based method - ISO 16000-16: Indoor air — Part 16: Detection and enumeration of moulds — Sampling by filtration - SKC Gelatin Filters Cat. Nos. 225-9551 and 225-9552. Operating Instructions
**VMYA4 **VMYBA4 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - Air Plates by Impaction **VMYA4 - Mould & Yeast (DG18, MEA, DRBC) **VBA4 - Bacteria (TSA) - ISO 16000-17: Detection and enumeration of moulds - Culture-based method - ISO 16000-18: Indoor air — Part 18: Detection and enumeration of moulds — Sampling by impaction - CBS Laboratory Manual Series - Food and Indoor Fungi (2010)
**VMYA5 **VMYBA5 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Most routine method Viable Microorganisms (Mould-Yeast-Bacteria) - Air Plates by Impaction **VMYA4 - Mould & Yeast (MEA) **VBA4 - Bacteria (TSA)
Viable Mould, Yeast, Bacteria in RODAC Plates, Surface Swab, Bulk and Liquid Samples
Test Code |  | Description
**VMYS1 **VMYBS1 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - RODAC Plates Sample size: 55mm diameter. Detection Limit: 1cfu/plate. **VMYS1 - Mould & Yeast (MEA or SDA Plates) **VBS1 - Bacteria (TSA) - ISO 16000-17: Detection and enumeration of moulds - Culture-based method - CBS Laboratory Manual Series - Food and Indoor Fungi (2010)
**VMYS2 **VMYBS2 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - Surface swabs Sample surface area: 10-100cm2. Detection Limit: 10 cfu/swab. **VMYS2 - Mould & Yeast (DG18, MEA) in duplicates or Compact Dry or Petrifilm **VBS2 - Bacteria (TSA) in duplicates - ISO 16000 - 21: Indoor air — Part 21: Detection and enumeration of moulds — Sampling from materials - ISO 16000 - 17: Detection and enumeration of moulds - Culture-based method
**VMYB1 **VMYBB1 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - Bulk samples (eg. soil, sludge, timber, fabric) Sample size: 1-10 grams. Detection Limit: 1-10cfu/g. **VMYB1 - Mould & Yeast (DG18, MEA) in duplicates or Compact Dry or Petrifilm **VBB1 - Bacteria (TSA) in duplicates - ISO 16000 - 21: Indoor air — Part 21: Detection and enumeration of moulds — Sampling from materials - ISO 16000 - 17: Detection and enumeration of moulds - Culture-based method
**VMYL1 **VMYBL1 | (Mould-Yeast) (Mould-Yeast-Bacteria) | Viable Microorganisms (Mould-Yeast-Bacteria) - Liquid samples (oil, other liquids) Sample size: 1-100mL. Detection Limit: 1-10cfu/mL. **VMYB1 - Mould & Yeast (DG18, MEA) in duplicates or Compact Dry or Petrifilm **VBB1 - Bacteria (TSA) in duplicates - ISO 16000 - 21: Indoor air — Part 21: Detection and enumeration of moulds — Sampling from materials - ISO 16000 - 17: Detection and enumeration of moulds - Culture-based method
E coli & Coliforms in Surface Swab
Test Code |  | Description
**EC1 |  | Viable Microorganisms (Escherichia coli & Coliforms bacteria ) - Surface swabs Sample surface area: 10-100cm2. Detection Limit: 10 cfu/swab. Reference Methods - AOAC 110402 (Compact Dry EC); AOAC 991.14 & AOAC 998.08 (Spread plate-Petrifilm)
Back to Form